MED - LIST  OF  EQUIPMENT  TO  BE  APPROVED

| 1 | 2 | 3 | 4 |  | 5 |  | 6 |  |  | 7 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item-No. | Item designation | SOLAS-Regulations, MARPOL-Regulations International and national standards, Testing standards | Name of manufacturer |  | Type, Trade name |  | Modules for conformity assessment |  |  | Equipment Approved by Notified Bodies according to Directive (EU) 2026/1424. |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | B + D B + E B + F (or only G) |  |  | Name of notified body |  |  | Identifi-cation number |  |  | Number of EC-Type-Examination Certificate |  | Documen-tation enclosed? yes / no |  |
| 1. Life-Saving Appliances |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/1.1 | Lifebuoys — not intended for combined use with item MED/1.10 — intended for combined use with item MED/1.10 Note:if it is intended to operate the quick- release arrangement provided for the self-activated smoke signals and self- igniting lights, these items shall have a mass of not less than 4 kg (refer also to item MED/1.3). | Reg. III/4, III/7, III/34, X/3, LSA-Code I, II, HSC-Code 1994 + 2000, 8, Res. MSC.81(70) Res. MSC.481(102) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/1.2 For (a) Note:EN 60945’s and IEC 60945’s Electromagnetic Compatibility tests are excluded and only those referred to in IMO Res. MSC 81(70), clause 10.4 shall be carried out. For (b): Note:EN 60945’s and IEC 60945’s Electromagnetic Compatibility tests are excluded and only those referred to in IMO Res. MSC 81(70), clause 10.4 shall be carried out. For (c): Note:EN 60945’s and IEC 60945’s Electromagnetic Compatibility tests are excluded and only those referred to in IMO Res. MSC 81(70), clause 10.4 shall be carried out. | Position-indicating lights for life-saving appliances: (a) for survival craft and rescue boats, (b) for lifebuoys, (c) for life- jackets | Reg. III/4, III/7, III/22., III/26, III/32, III/34, X/3, # LSA-Code II, IV, HSC-Code 1994 + 2000, 8, Res. MSC.81(70) EN 60945:2002 incl. IEC 60945 Corr.1:2008 ISO 24408:2005 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/1.3 | Life-buoys self-activating smoke signals | Reg. III/4, III/7, III/34, X/3, LSA-Code I, II, HSC-Code 1994 + 2000, 8, MSC.1/Circ.1628 Rev.2, Res. MSC.81(70), ISO 15736:2006 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/1.4 | Life jackets | Reg. III/4, III/7, III/22, III/34, X/3, LSA-Code I, II HSC-Code 1994 + 2000, 8, Res.MSC.481(102), MSC/Circ. 922, MSC.1/Circ. 1304, MSC.1/Circ. 1470, Res. MSC.81(70) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/1.5 | Immersion suits and anti-exposure suits designed to be worn in conjunction WITH a lifejacket a) immersion suit without inherent insulation b) immersion suit with inherent insulation c) anti exposure suit | Reg. III/4, III/7, III/22, III/32, III/34, X/3, LSA-Code I, II, HSC-Code 1994 + 2000, 8, Res.MSC.481(102), MSC/Circ.1046, Res. MSC.81(70) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/1.6 | Immersion suits and anti-exposure suits Designed to be worn in conjunction WITHOUT a lifejacket a) immersion suit without inherent insulation b) immersion suit with inherent insulation c) anti exposure suit | Reg. III/4, III/7, III/22, III/32, III/34, X/3, LSA-Code I, II, HSC-Code 1994 + 2000, 8, Res.MSC.481(102), MSC/Circ.1046, Res. MSC.81(70) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/1.7 | Thermal protective aids | Reg. III/4, III/22, III/32, III/34, X/3, LSA-Code I, II, HSC-Code 1994 + 2000, 8, MSC/Circ. 1046, Res. MSC.81(70) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/1.8 | Rocket parachute flares (pyrotechnics) | Reg. III/4, III/6, III/34, X/3, LSA-Code I, III, HSC-Code 1994 + 2000, 8, MSC.1/Circ.1629 Res. MSC.81(70), ISO 15736:2006 Sprengstoffgesetz/BAM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/1.9 | Hand flares (pyrotechnics) | Reg. III/4, III/34, X/3, LSA-Code I, III, HSC-Code 1994 + 2000, 8, Res. MSC.81(70), ISO 15736:2006 Sprengstoffgesetz/BAM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/1.10 | Buoyant smoke signals (pyrotechnics) | Reg. III/4, III/ 34, X/3, LSA-Code I, II, III, Res. MSC.81(70), ISO 15736:2006 Sprengstoffgesetz/BAM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/1.11 | Line-throwing appliances (pyrotechnics) | Reg. III/4, III/18, III/34, X/3, LSA-Code I, VII, HSC-Code 1994 + 2000, 8, Res. MSC.81(70), ISO 15736:2006 Sprengstoffgesetz/BAM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/1.12 | Inflatable liferafts | Reg. III/4, III/13, III/21, III/26, III/31, III/34, X/3, LSA-Code I, IV, HSC-Code 1994 + 2000, 8, Res.MSC.481(102), Res. MSC.81(70), MSC/Circ. 811 and for extended service intervalls: MSC.1/Circ.1328 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/1.13 | Rigid liferafts | Reg. III/4, III/21, III/26, III/31, III/34, X/3, LSA-Code I, IV, HSC-Code 1994 + 2000, 8, Res.MSC.481(102), Res. MSC.81(70), |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.14 | a) Automatically self-righting liferafts – inflatable b) Automatically self-righting liferafts – rigid | Reg. III/4, III/26, III/34, X/3, LSA-Code I, IV, HSC-Code 1994 + 2000, 8, Res.MSC.481(102), Res. MSC.81(70), MSC/Circ. 809 MSC/Circ. 811 and for extended service intervals: MSC.1/Circ.1328, |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.15 | Canopied reversible liferafts | Reg. III/4, III/26, III/34, X/3, LSA-Code I, IV, HSC-Code 1994 + 2000, 8, Res.MSC.481(102), Res. MSC.81(70), MSC/Circ. 809, MSC./Circ.811 and for extended service intervals: MSC.1/Circ.1328 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.16 | Float-free arrangements for liferafts (hydrostatic release units) | Reg. III/4, III/13, III/26, III/34, X/3, LSA-Code I, IV, HSC-Code 1994 + 2000, 8, Res. MSC.81(70) MSC/Circ. 811 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.17 | Lifeboats: (a) davit-launched lifeboats: - partially enclosed - totally enclosed (b) Free fall lifeboats: (c) davit-launched lifeboats used as a rescue boat – partially enclosed – totally enclosed | Reg. III/4, III/21, III/31, III/34, X/3, LSA-Code I, IV, V HSC-Code 1994 + 2000, 8, Res.MSC.481(102), Res. MSC.81(70), MSC/Circ. 1006, MSC.1/Circ.1423 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.18 | Rigid rescue boats | Reg. III/4, III/21, III/31, III/34, X/3, LSA-Code I, V, HSC-Code 1994 + 2000, 8, Res.MSC.481(102), Res. MSC.81(70), MSC/Circ.1006 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.19 | Inflated rescue boats | Reg. III/4, III/21, III/31, III/34, X/3, LSA-Code I, V, HSC-Code 1994 + 2000, 8, Res.MSC.481(102), Res. MSC.81(70), ISO 15372:2000 incl. A1:2021 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.20 | Fast rescue boats: (a) inflated (b) rigid (c) rigid-inflated | Reg. III/4, III/26, III/34, LSA-Code I, V, Res.MSC.481(102), Res. MSC.81(70), MSC/Circ. 1006, MSC/Circ. 1016, MSC/Circ. 1094, ISO 15372:2000 incl. A1:2021 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.21 | Launching appliances using falls (davits) | Reg. III/4, III/23, III/33, III/34, X/3 LSA-Code I, VI, HSC-Code 1994 + 2000, 8, Res. MSC.81(70) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.22 | Float free launching appliance for survival craft | Moved to MED/9/1.3 and deleted by Implementing Regulation (EU) 2023/1667. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.23 | Launching appliances for free-fall lifeboats | Reg. III/4, III/16, III/23, III/33, III/34, X/3, LSA-Code I, VI, HSC-Code 1994 + 2000, 8, Res. MSC.81(70) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.24 | Liferaft launching appliances (Davits) | # Reg. III/4, III/12, III/16, III/34, X/3, LSA-Code I, VI, HSC-Code 1994 + 2000, 8, Res. MSC.81(70) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.25 | Fast rescue boat launching appliances (davits) | # Reg. III/4, III/26, III/34, LSA-Code I, VI, Res. MSC.81(70) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.26 | Release mechanism for (a) Lifeboats and rescue boats (Launched by a fall or falls) (b) Liferafts (Launched by a fall or falls) (c) Free fall lifeboats | Reg. III/4, III/16, III/34, X/3, LSA-Code I, IV, HSC-Code 1994 + 2000, 8, Res. MSC.81(70), For (a) only: MSC/Circ.1419 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/1.27 | Marine evacuation systems | Reg. III/4, III/15, III/26, III/34, X/3, LSA-Code I, VI, HSC-Code 1994 + 2000, 8, Res. MSC.81(70) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.28 | Means of rescue (MOR) | Reg. III/4, III/26, III/34, LSA-Code I, VI, Res. MSC.81(70) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.29 | Embarkation ladders | Reg. III/4, III/11, III/34,X/3, LSA-Code, HSC-Code 1994 + 2000, Res. MSC.81(70), MSC.1/Circ.1285, ISO 5489:2024 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.30 | Retro-reflective materials | Reg. III/4, III/34, X/3, LSA-Code I, HSC Code 1994 + 2000, 8, Res.MSC.481(102) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.31 | Survival craft two-way VHF radio telephone apparatus | Item moved to MED/5.17 and MED /5.18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.32 | 9GHz SAR trans-ponder (SART) | Item moved to MED /4.18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.33 | Radar reflector for lifeboats and rescue boats (passive) | Reg. III/4, III/ 34, X/3, LSA-Code I, IV, V, HSC-Code 1994 + 2000, 8, Res. A.164(78), Res. A.384(X), - EN ISO 8729:1998, - EN 60945:2002 incl. IEC 60945 Corr. 1:2008. Or - EN ISO 8729:1998, - IEC 60945:2002 incl. IEC 60945 Corr. 1:2008. Or - ISO 8729-1:2010, - EN 60945:2002 incl. IEC 60945, Corr.1:2008. Or - ISO 8729-1:2010, - IEC 60945:2002 incl. IEC 60945, Corr. 1:2008 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.34 | Magnetic compass Class B for lifeboats and rescue boats | Item moved to MED /4.23 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.35 | Portable fire- extinguishing equipment for lifeboats and rescue boats | Item moved to MED /3.38 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.36 | Lifeboat/rescue boat propulsion engine | Reg. III/4, III/34, X/3, LSA-Code IV, V, Res. MSC.81(70) as amended |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.37 | Rescue boat propulsion engine - outboard motor | Reg. III/4, III/34, X/3, LSA-Code V, Res. MSC.81(70) as amended |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.38 | Searchlights for use in lifeboats and rescue boats | Reg. III/4, III/34, X/3, LSA-Code I, IV, V, HSC-Code 1994 +2000, 8, MSC.1/Circ.1630 Rev.2 Res. MSC.81(70) as amend., EN 60945:2002 incl. IEC 60945 Corr.1:2008 or Res. MSC.81(70) as amend., IEC 60945:2002 incl. IEC 60945 Corr.1:2008 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.39 | Open reversible liferafts | Reg. III/4, Reg. X/3, LSA-Code I, HSC-Code 1994, 8,Annex 10, HSC-Code 2000, 8,Annex 11, Res.MSC.481(102), And for extended service intervals: MSC.1/Circ.1328 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.40 | Mechanical pilot hoist | Moved to MED /4.48 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.41 | Winches for survival craft and rescue boats (a) davit launched life boats, (b) free-fall life boats (c) liferafts, (d) rescue boats, (e) fast rescue boats | Reg. III/4, III/16, III/17, III/23, III/24, III/34, X/3, LSA-Code I, VI, HSC-Code 1994 +2000, 8, Res. MSC.81(70) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.42 | Pilot ladder | Moved to MED /4.49 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /1.43 | Rigid/inflated rescue boats | Reg. III/4, III/21, III/31, III/34, X/3, LSA-Code I, V, HSC-Code 1994 + 2000, 8, Res. MSC.81(70), MSC/Circ. 1006, ISO 15372:2000 + A1:2021 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/1.44 | (a) Public Address and General Alarm Systems (PAGA) - Control and distribution system See Note in text of Implementing regulation (b) Public Address and General Alarm Systems (PAGA) - Speakers See Note in text of Implementing regulation | Reg. III/4, II-2/12, II-2/21, II-2/22, III/6, Res. A.1021(26) 5, LSA-Code VII, HSC-Code 1994, 4+8 , HSC-Code 2000, 4+8, Res. MSC.302(87), MSC.1/Circ.808, MSC.1/Circ.1369/Add.1 -EN 50695:2021, -EN 60945:2002 incl. IEC 60945 Corr.1:2008, -EN 61162 series, -EN IEC 62288:2022, -EN 62923-1:2018, EN 62923-2:2018 OR: -EN 50695:2021, IEC 60945:2002 incl. IEC 60945 Corr.1:2008, - IEC 61162 series, -IEC 62288 Ed. 3.0:2021, -IEC 62923-1:2018, -IEC 62923-2:2018. For (a): And as applicable, electrical, and electronic installations outside the ship’s bridge: — IEC 60533:2015.. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Marine-Pollution Prevention |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /2.1 | Oil filtering equipment (for an oil content of the effluent not exceeding 15 p.p.m.) | MARPOL 73/78 Annex I, Reg. 14, MEPC.1/Circ.643, Res. MEPC.107 (49) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /2.2 | Oil/water interface detectors | MARPOL 73/78 Annex I Reg. 32, Res. MEPC 5 (XIII) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/2.3 | Oil-content meters | MARPOL 73/78 Annex I, Reg. 14, MEPC.1/Circ.643, Res. MEPC.107 (49) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /2.4 | Process units inten-ded for attachment to existing oily water separating equipment (for an oil content of the effluent not exceeding 15 p.p.m.) | Has been deliberately left blank |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /2.5 | Oil discharge monitoring and control system for oil tankers | MARPOL 73/78 Annex I, Reg. 31, MEPC.1/Circ.858 Res. MEPC.108 (49) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /2.6 | Sewage systems (a) for use by passenger ships in all areas, including a MARPOL Annex IV special area (b) for use by ships, other than passenger ships, in all areas and by passenger ships outside MARPOL Annex IV special areas | MARPOL Annex IV, Reg. 9, (a) Res.MEPC.227(64): including sect. 4.2 (b) Res,MEPC.227(64): excluding sect. 4.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /2.7 | Shipboard incinerators (Incinertor plants with capacities up to 4000 kW | MARPOL 73/78 Annex IV, Reg. 16, Res. MEPC.244 (66), Res.MEPC.368(79) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /2.8 | NOx analyser permanently placed on board and for use on board as per NOx Technical Code 2008 | Res. MEPC.176(58) - (Revised MARPOL Annex VI, Reg. 13), - Res. MEPC.177(58) - NOx-Technical Code 2008), MEPC.291(71) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /2.9 | Equipment using other technological methods to limit SOx emissions | Moved to MED/9/2.4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /2.10 | On board exhaust gas cleaning systems | Res. MEPC.176(58) - (Revised MARPOL Annex VI, Reg. 4) - Res. MEPC.340(77) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Fire Protection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.1 | Primary decks covering | Reg. II-2/4, II-2/6, X/3, HSC Code 1994 + 2000, 7, Res.MSC.307(88)-(2010 FTP Code), as amended |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.2 | Portable fire extinguishers | Reg.II-2/4, II-2/10, II-2/18, II-2/19, II-2/20, X/3, FSS Code, 4, Res. A.951(23), IGF Code, 11, HSC Code 1994 + 2000, 7, MSC/Circ. 1239, MSC/Circ. 1275, incl. Corr.1 EN 3-7 :2004+A.1:2007, EN 3-8 :2021, EN 3-9 :2006+AC:2007, EN 3-10 :2009 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.3a | Fire-fighters outfit: protective clothing (close proximity clothing) (a) Note: To be exclusively certified where compliant with 'level of protection' X2 and 'grade of protection' Y2+Z2. Note: Not applicable to heat-reflective (e.g.aluminised) clothing | SOLAS 74 Reg. II-2/10., SOLAS 74 Reg. X/3, FSS Code, 3, HSC Code 1994 + 2000, 7, - EN 469:2020 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.3b | Fire-fighters outfit: protective clothing (close proximity clothing): | protective clothing for firefighting: reflective clothing for specialized firefighting – deleted by Implementing Regulation (EU) 2024/1975 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.3c | Fire-fighters outfit: protective clothing (close proximity clothing): | protective clothing for firefighting: reflective clothing for specialized firefighting – deleted by Implementing Regulation (EU) 2024/1975 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.4 | Fire-fighters outfit: boots | SOLAS 74 Reg. II-2/10, SOLAS 74 Reg. X/3, FSS Code, 3, SOLAS 74 Reg. II-2/15, IBC Code,11, IGC Code, 11, HSC Code 1994 + 2000, 7, EN 15090 :2012, excluding Type 1. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.5 | Fire-fighters outfit: gloves | SOLAS 74 Reg. II-2/10., SOLAS 74 Reg. X/3, FSS Code, 3, HSC Code 1994 + 2000, 7, IBC Code, 11, IGC Code, 11, EN 659 :2003 incl. A1:2008 and AC:2009 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.6 | Firefighters outfit: helmet | SOLAS 74 Reg. II-2/10, SOLAS 74 Reg. X/3, FSS Code, 3, SOLAS 74 Reg. II-2/15, IBC Code, 11, IGC Code, 11, HSC Code 1994 + 2000, 7, EN 443:2008 excluding type A. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.7 | Self-contained compressed-air-operated breathing apparatus, Note: For use in accidents involving dangerous goods a positive pressure type mask is required. (Refer to item MED/7.1 | SOLAS 74 Reg. II-2/10, SOLAS 74 Reg. X/3, FSS Code, 3, HSC Code 1994 + 2000, 7, IBC Code, 11, IGC Code, 11, MSC.1/Circ.1499, MSC.1/Circ.1555, ISO 23269-2:2011 (firefighting maritime use only). Type 1 mask shall not be used in either MED/3.7 or MED/7.1 Note:..See Directive itself The breathing apparatus module B certifcate shall indicate the MED fireproof lifeline as mandatory combined component. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.8 | Compressed air line breathing apparatus | SOLAS 74 Reg. X/3, HSC Code 1994, 7, EN 14593-1:2018,Or: EN 14594:2018 | Note: This equipment is only for high speed craft built under provisions of the 1994 HSC Code. - The use is not allowed on ships, flying the German Flag - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.9 | Sprinkler systems components for accommodation spaces, service spaces and control stations equivalent to that referred to in SOLAS 74 Reg. II-2/12 (limited to nozzles and their performance). (Nozzels for fixed sprinkler systems for high speed craft (HSC) are included under this item). Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. | SOLAS 74 Reg. II-2/7, II-2/9, II-2/10, X/3, FSS Code, 8, HSC Code 1994 + 2000, 7, Res. MSC.44(65), Res. A.800(19) as amended, MSC.Circ.912, MSC.1/Circ.1556 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.10 | Nozzles for fixed pressure water-spraying fire extin-guishing systems for machinery spaces and cargo pump-rooms. Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. | SOLAS 74 Reg. II-2/10, X/3, FSS Code, 7, HSC Code 1994 + 2000, 7, IGF Code, 11, MSC.1/Circ.1313, MSC/Circ.1165, as amended. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.11 | „A“ and „B“ Class divisions fire integrity (a) "A" class divisions, (b) "B" class divisions | SOLAS 74 Reg.II-2 „A“Class: Reg.II-2/3.2, Res.MSC.307(88)-(2010 FTP Code) , as amended, MSC.Circ.1120, MSC.Circ.1434, MSC.Circ.1616, MSC.Circ.1621, MSC.Circ.1435, “B”Class: SOLAS 74 Reg.II-2/3.4, SOLAS 74 Reg. II-2/9 Res.MSC.307(88)-(2010 FTP Code) , as amended, MSC.Circ.1120, MSC.1/Circ.1581 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.12 | Devices to prevent the passage of flame into the cargo tanks in tankers (a) - P/V valves (b) – flame arresters (c) – detonation flame arresters (d) high velocity vent valves | SOLAS 74 Reg.II-2/4, SOLAS 74 Reg.II-2/16, FSS Code,15, MSC/Circ. 677, as amended, EN ISO 80079-49:2024, ISO 15364:2021 (d) EN ISO 16852:2016, ISO 15364:2021 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A.1/3.13 | Non-combustible materials | SOLAS 74 Reg. II-2/3, SOLAS 74 Reg. II-2/5, SOLAS 74 Reg. II-2/9, SOLAS 74 Reg. X/3, HSC Code 1994, 7, HSC Code 2000, 7, 2010 FTP Code as amended |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A.1/3.14 | Materials other than steel for pipes penetrating „A“ or „B“ class division | Item included in MED/3.26 and MED/3.27 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.15 | Materials other than steel for pipes conveying oil or fuel oil (a) plastic pipes and fittings, (b) valves, (c) flexible pipe assemblies and compensators, (d) metallic pipe components with resilient and elastomeric seals. | SOLAS 74 Reg. II-2/4, X/3, HSC Code 1994+2000,7,10, MSC/Circ.1120 for a) Res. A.753(18), 2010 FTP Code, as amended for b) EN ISO 10497:2022 for c) ISO 15540:2016 + ISO 15541:2016 for d) MSC.1/Circ.1527, ISO 19921:2005, ISO 19922:2005 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.16 | Fire doors | SOLAS 74 Reg. II-2/9 2010 FTP-Code as amended MSC.1/Circ. 1319, MSC.1/Circ.1511 Revision 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.17 | Fire door control systems components | SOLAS 74 Reg. II-2/9, X/3, HSC Code 2000, 7, FTP-Code 2010 as amended |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.18 | Surface materials and floor coverings with low flame-spread characteristics (a) decorative veneers, (b) paint sys- tems, (c) floor cover- ings, (d) pipe insulation covers, (e) adhesives used in the construction of "A","B" & "C" class divisions, (f) combustible ducts membrane. | SOLAS Reg. II-2/3, II-2/5, II-2/6, X/3 HSC Code 1994 + 2000, 7, 2010 FTP-Code as amended MSC/Circ.1120 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.19 | Draperies, curtains and other suspended textile materials and films | SOLAS Reg. II-2/3, II-2/9, X/3, HSC Code 1994 + 2000, 7, 2010 FTP-Code, as amended, MSC.1/Circ.1456 Revision 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.20 | Upholstered furni-ture (a) complete piece of furniture (including cover material, filling material and non-combustible rack) (b) cover material for any filling material (c) cover material for flame-retardant filling material (testedin specificcombination as intended for further application) (d) flame-retardant filling material | SOLAS Reg. II-2/3, II-2/5, II-2/9, X/3, HSC Code 1994 + 2000, 7, 2010 FTP-Code, as amended (b) + (c) + (d) 2010 FTP-Code, Annex 1 Part 8 Appendix 3, as amended |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.21 | Bedding components Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. | SOLAS 74 Reg. II-2/3, II-2/9, X/3, HSC Code 1994 + 2000, 7, 2010 FTP-Code, as amended |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.22 | Fire dampers | SOLAS Reg. II-2/9, 2010 FTP-Code, as amended, MSC.1/Circ.1655 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.23 | Non-combustible duct penetrations through „A“ class divisions | Item deliberately left blank. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.24 | Electric cable transits through „A“ class divisions | Item deliberately left blank. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.25 | “A” and “B” class fire proof windows and side scuttles | SOLAS Reg. II-2/9, IGC Code 3, MSC/Circ.1120, 2010 FTP-Code, as amended |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.26 | Penetrations through “A” class divisions (a) electric cable transits, (b) pipe,duct, trunk, etc. Penetrations (c) busbar trunking penetration systems | SOLAS Reg. II-2/9, 2010 FTP-Code, as amended, (a) MSC.1/Circ.1488, MSC.1/Circ.1655, (b) MSC/Circ. 1276 Rev.1 + MSC.1/Circ.1488, MSC.1/Circ.1655, (c) MSC.1/Circ.1488, MSC.1/Circ.1655 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.27 | Penetrations through ‘B’ class divisions by (a) electric cable transits, (b) pipe, duct, trunk, etc. penetrations | SOLAS 74 Reg. II-2/9, 2010 FTP-Code, as amended, MSC.1/Circ.1655 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.28 | Sprinkler systems (limited to sprinkler heads). (Nozzels for fixed sprinkler sytems for high speed craft (HSC) are included under this item). | SOLAS 74 Reg. II-2/7, II-2/10, X/3, HSC Code 1994 + 2000, 7, Res. MSC.44(65), FSS Code, 8, MSC/Circ.912, MSC.1/Circ.1556, ISO 6182-1:2021. Or EN 12259-1:1999) incl. A 1:2001, A2:2004 and A3: 2006 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.29 | Fire fighting hoses Non-percolating lay flat fire-fighting hoses (range of the inside diameter from 25 mm to 52 diameter) | SOLAS 74 Reg. II-2/10, X/3, HSC Code 1994 + 2000, 7, EN 14540:2014 OR Commission Delegated Regulation (EU) 2024/1295 (NF S 61-112) OR Commission Delegated Regulation (EU) 2024/1295 (DIN14811 (January 2008), excluding the requirements of section 5.3) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.30 | Portable oxygen analysis and gas detection equipment (a) category 1: (safe area) (b) category 2: (explosive gas atmoshpheres) | SOLAS 74 Reg. II-2/4, VI/3,XI-1/7 FSS-Code, 15, MSC.1/Circ.1477, MSC.1/Circ.1581, (a) -EN50104:2019 incl. EN50104:2019/A1:2023, -EN60079-29:2016 incl. EN 60079-29-1;2016/A11:2022, - EN 60945:2002 incl. IEC 60945 Corr.1:2008 or IEC 60945:2002 incl. IEC 60945 Corr.1:2008, IEC 60092-504:2016, IEC 60533:2015 b) - EN 50104:2019 incl. EN 50104:2019/A1:2023, - EN IEC 60079-0:2018, incl. AC:2020-02, and A11:2024, - EN 60079-1:2014, incl. AC:2018-09 and A11:2024, - EN IEC 60079-10-1:2021, - EN IEC 60079-11:2024, - EN IEC 60079-15:2019, - EN IEC 60079-26:2024, - EN 60079-29-1:2016 incl. A1:2022 and A11:2022 - EN 60945:2002 incl. IEC 60945 Corr.1:2008, or IEC 60945:2002 incl. IEC 60945 Corr.1:2008, - IEC 60092-504:2016, - IEC 60533:2015. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.31 | Nozzles for fixed sprinkler systems for high speed craft (HSC) | Item deleted as it is covered by MED /3.9 and MED /3.28 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.32 | Fire restricting materials (except furniture) for high speed craft | SOLAS 74 Reg. X/3, HSC Code 1994 + 2000, 7, 2010 FTP-Code, as amended, MSC.1/Circ.1457 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.33 | Fire restricting materials for furniture for high speed craft | SOLAS 74 Reg. X/3, HSC Code 1994 + 2000, 7, 2010 FTP-Code, as amended. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.34 | Fire resisting divisions for high speed craft | SOLAS 74 Reg. X/3, HSC Code 1994 + 2000, 7, 2010 FTP-Code, as amended, MSC.1/Circ.1457 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.35 | Fire doors on high speed craft Note: Fire door control system components are subject to conformity assessment in accordance with item MED/3.17. | SOLAS 74 Reg. X/3, HSC Code 1994 + 2000, 7, 2010 FTP-Code, as amended. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.36 | Fire dampers on high speed craft | SOLAS 74 Reg. X/3, HSC Code 1994 + 2000, 7, 2010 FTP-Code, as amended |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.37 | Penetrations through fire resisting divisions on high speed craft (a) electric cable transits (b) pipe, duct, trunk etc. penetrations | SOLAS 74 Reg. X/3, HSC Code 1994 + 2000, 7, 2010 FTP-Code, as amended. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.38 | Portable fire-extinguishing equipment for lifeboats and rescue boats | SOLAS 74 Reg. III/4, III/34, X/3, HSC Code 1994,8 + 2000,8, LSA Code I, IV, V, Res. A.951(23), EN 3-7:2004 incl. A1:2007, EN 3-8:2021, EN 3-9:2006 incl. AC:2007, EN 3-10:2009 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.39 | Nozzles for equivalent water- mist fire extingui-shing systems for machinery spaces and cargo pump rooms | SOLAS 74 Reg. II-2/10, X/3, HSC Code 1994,7 + 2000, 7, FSS Code, 7, MSC/Circ.1165, as amended, MSC.1/Circ. 1313, MSC.1/Circ.1458 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.40 | Low-location lighting systems (components only) | SOLAS 74 Reg. II-2/13, FSS Code, 11 Res. A.752(18), ISO 15370:2021 incl. ISO 15370:2021/Amd.1:2023 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.41 | Emergency escape breathing devices (EEBD) (a) self-contained open-circuit compressed air breathing apparatus with full mask or mouthed piece assembly for escape (b) self-contained open-circuit compressed air breathing apparatus with hood for escape (c) self-contained closed circuit compressed air breathing apparatus | SOLAS 74 Reg.II-2/13, FSS Code 3, MSC./Circ.849, (a) ISO 23269-1:2008 (b) ISO 23269-1:2008, (c) ISO 23269-1:2008 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.42 | Inert gas systems: (a) Whole system: | Deleted by Implementing Regulation (EU)2026/1434 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.42 | (b) single components: inert gas scrubbers Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. (c) single components: inert gas blowers Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. | SOLAS 74 Reg. II-2/4, Res. A.567(14), FSS Code, 15, MSC/Circ. 353, MSC/Circ. 485, MSC/Circ. 731, MSC/Circ. 1120 SOLAS 74 Reg. II-2/4, Res. A.567(14), FSS Code, 15, MSC/Circ. 353, MSC/Circ. 485, MSC/Circ. 731, MSC/Circ. 1120 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.43 | Nozzles for deep fat cooking equipment fire extinguishing systems (automatic or manual type) Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. | SOLAS 74 Reg. II-2/1, II-2/10, X/3, HSC Code 2000, 7, MSC.1/Circ.1433, ISO 15371:2024 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.44 | Firefighters outfit - lifeline | SOLAS 74 Reg. II-2/10, X/3 HSC Code 1994 + 2000, 7, FSS Code, 3, 2010 FTP-Code, as amended, ISO 23269-2:2011 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.45 | Equivalent fixed gas fire extinguishing systems components (extinguishing medium, head valves and nozzles) for machinery spaces and cargo pump rooms | SOLAS Reg. II-2/10, X/3, FSS Code, 5, HSC Code 1994 + 2000, 7, IGF Code, 11, MSC/Circ. 848, as amended, MSC.1/Circ. 1313. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.46 | Equivalent fixed gas fire extinguishing systems for machinery spaces (aerosol systems) | SOLAS Reg. II-2/10, X/3, FSS Code, 5, HSC Code 1994 + 2000, 7, FSS Code, 5, IGF Code, 11, MSC.1/Circ. 1270 incl. Corr. 1 MSC.1/Circ. 1313 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.47 | Concentrate for fixed high expansion foam fire extinguishing systems for machinery spaces and cargo pump rooms. Note: The fixed high expansion foam fire extinguishing system (incl. those systems which use inside air from their working spaces for their intended performance),for machinery spaces and cargo pump rooms must still be tested with the approved concentrate to the satisfaction of the administration. | SOLAS 74 Reg. II-2/10, FSS Code, 6, IGF Code, 11, MSC/Circ. 670 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.48 | Fixed water based local application fire fighting systems components for use in category “A” machinery spaces. (Nozzles and performance tests). Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. | SOLAS 74 Reg. II-2/10, X/3, HSC Code 1994 + 2000, 7, MSC.1/Circ. 1387 including Corr.1. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.49 | Fixed water-based fire-fighting systems for ro-ro spaces, vehicle spaces and special category spaces (a) Prescriptive-based systems as per Circ. 1430, Rev.3 (b) Performance-based systems as per Circ. 1430 Clause 5. | SOLAS 74 Reg. II-2/19, II-2/20, X/3, HSC Code 1994 + 2000, 7, FSS Code, 7, (a) MSC.1/Circ. 1430, Rev.3 (b) MSC.1/Circ.1430, Revision 3. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /3.50 | Protective clothing resistant to chemical attack | Item moved to MED/9/3.9. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A.1/3.51 | Fixed fire detection and fire alarm systems components for control stations, service spaces, accommodation spaces, cabin balconies, machinery spaces and unattended machinery spaces (a) Control and indicating equipment Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. (b) Power supply equipment Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. (c) Heat detectors - Point detectors Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. (d) Smoke detectors: Point detectors using scattered light, transmitted light or ionization Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. (e) Flame detectors: Point detectors Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. (f) Manual call points Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. (g) Short circuit isolators Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. (h) Input/output devices Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. (i) Cables Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. | SOLAS 74 Reg. II-2/7, Regel X/3, FSS Code, 9, HSC Code 1994 + 2000, 7, MSC.302(87), MSC.1/Circ. 1242, MSC.1/Circ.1487, MSC.1/Circ.1528 (a) -EN 54-2:1997 incl. AC:1999 and A1:2006. -EN 60945:2002 incl. IEC 60945 Corr.1:2008, -EN IEC 62923-1:2018, EN IEC 62923-2:2018 OR -EN 54-2:1997 incl. AC:1999 and A1:2006, -IEC 60945:2002 incl. IEC 60945 Corr.1:2008 -IEC 62923-1:2018, -IEC 62923-2:2018, And, as applicable, electrical and electronic installations in ships: -IEC 60092-504:2016, -IEC 60533:2015 (b) EN 54-4:1997 incl. AC:1999, A1:2002 and A2:2006 And, as applicable, electrical and electronic installations in ships: -IEC 60092-504:2016, -IEC 60533:2015 (c) Heat detectors-Point detectors: EN 54-5:2017 incl.A1:2018 And, as applicable, electrical and electronic installations in ships: -IEC 60092-504:2016, -IEC 60533:2015 (d) EN 54-7:2018 And as applicable, electrical and electronic installations in ships: -IEC 60092-504:2016, -IEC 60533:2015 (e) EN 54-10:2002 incl. A1:2005 And, as applicable, electrical and electronic installations in ships: -IEC 60092-504:2016, -IEC 60533:2015 (f) EN 54-11:2001 incl. A1:2005 And, as applicable, electrical and electronic installations in ships: -IEC 60092-504:2016, -IEC 60533:2015 (g) EN 54-17:2005 incl. AC:2007 And, as applicable, electrical and electronic installations in ships: -IEC 60092-504:2016, -IEC 60533:2015 (h) EN 54-18:2005 incl. AC:2007 And, as applicable, electrical and electronic installations in ships: -IEC 60092-504:2016, -IEC 60533:2015 (i) EN 60332-1-2:2004 incl. A1:2015, A11:2016 and A12:2020, - IEC 60092-376:2017, And, as applicable, electrical and electronic installations in ships: -IEC 60092-504:2016, -IEC 60533:2015 -IEC 60332-1-2:2004 incl. A1:2015. And/or: Fire Resistant Cables: -IEC 60092-376:2017, -IEC 60331-1:2018 or IEC 60331-2:2018. And, as applicable, electrical and electronic installations in ships: -IEC 60092-504:2016, -IEC 60533:2015 -IEC 60332-1-2:2004 incl. A1:2015. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.52 | Non-portable and transportable fire extinguishers | SOLAS 74 Reg. II-2/10, X/3, II-2/4, HSC Code 1994 + 2000, 7, -EN 1866-1:2007, -EN 1866-2:2014. Or -EN 1866-1:2007, -EN 1866-3:2013. Or -ISO 11601:2017 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.53 | Fire alarm devices- sounders | SOLAS 74 Reg. II-2/7, X/3, FSS Code, 9, HSC Code 1994 + 2000, 7, MSC.1/Circ.1242, MSC.1/Circ.1487. - EN 54-3:2014 incl. A1:2019, -IEC 60092-504:2016, -IEC 60533:2015. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.54 | Fixed oxygen analysis and/or gas detection equipment (a) category 4: (safe area) (b) category 3: (explosive gas atmospheres: | SOLAS 74 Reg. II-2/4, VI/3, FSS Code, 15, For combined O2// HC systems additionally: -MSC.1/Circ.1370. a) -EN 50104:2019 incl. EN 50104:2019/A1:2023, -IEC 60092-504:2016, -IEC 60533:2015 b) -EN 50104 :2019 incl. EN 50104:2019/A1:2023, -EN IEC 60079-0:2018 incl. AC:2020-02, and A11:2024, -EN 60079-29-1:2016 incl. EN 60079-29-1:2016 / A1:2022 and EN 60079-29-1:2016/A11:2022, - IEC 60092-504:2016, -IEC 60533:2015 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.55 | Dual-purpose type nozzles (spray/jet type) (a) –Hand-held branch pipes for fire service use – Combination branch pipes PN 16 (b) -Hand held branchpipes for fire service use - Smooth bore jet and/or one fixed spray jet angle branchpipes PN 16 Note: Minimum spray angle of 30° | SOLAS 74 Reg. II-2/10, X/3, HSC Code 1994 + 2000, 7, (a) -EN 15182-1:2019, -EN 15182-2 :2019 (b) -EN 15182-1:2019, -EN 15182-3 :2019 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.56 | Fire fighting hose systems: - hose reels with semi-rigid hose | SOLAS 74 Reg. II-2/10, X/3, HSC Code 1994 + 2000, 7, EN 671-1:2012 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.57 | Medium expansion foam fire extinguishing systems components - Fixed deck Foam for Tankers Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. | SOLAS 74 Reg. II-2/10., II-2/10.8.1, FSS Code, 14, MSC.Circ.1239, MSC.1/Circ.1276 Rev.1, MSC/Circ.798 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A.1/3.58 | Fixed low expansion foam fire extinguishing systems components for Machinery Spaces and Tanker Deck Protection Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. | SOLAS 74 Reg. II-2/10, FSS Code, 6, 14, MSC.Circ.1239, MSC.1/Circ.1276 Rev.1, MSC.1/Circ.1312, MSC.1/Circ.1312/Corr.1. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.59 | Expansion Foam for Fixed Fire Extinguishing Systems for Chemical Tankers | SOLAS 74 Reg.II-2/1, IBC Code, 11, MSC/Circ. 553, MSC.1/Circ.1312, MSC.1/Circ.1312/Corr.1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.60 | Nozzles for fixed pressure water-spraying fire-extinguishing systems for cabin balconies | SOLAS 74 Reg. II-2/10, FSS Code, 7, MSC.1/Circ.1268, MSC.1/Circ.1313. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.61 | a) Inside air high expansion foam systems for the protection of machinery spaces, cargo pump rooms, vehicle and ro-ro spaces, special category spaces and cargo spaces. b) Outside air high expansion foam systems for the protection of machinery spaces, cargo pump rooms, vehicle and ro-ro spaces, special category spaces and cargo spaces. | SOLAS 74 Reg. II-2/10, FSS Code, 6, MSC.1/Circ.1384, MSC.1/Circ.1528 Note: Inside/Outside air high expansion foam systems for the protection of machinery spaces, cargo pump rooms, vehicle and ro-ro spaces, special category spaces and cargo spaces shall be tested with the approved concentrate to the satisfaction of the Administration. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.62 | Dry chemical powder extinguishing systems | SOLAS 74 Reg.II-2/1, IGC Code, 11, IGF Code, 11 MSC.1/Circ.1315 Rev.1, MSC.1/Circ.1617 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.63 | Sample extraction smoke detection systems components (a) –control and indication equipment. Electrical installations in ships Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. (b) Power supply equipment: Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. (c) Aspiring smoke detectors: Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. | SOLAS 74 Reg. II-2/7, II-2/19, II-2/20, FSS Code, 10, (a) - EN 54-2:1997 incl. AC:1999 and A1:2006. And as applicable, electrical and electronic installations in ships: -IEC 60092-504:2016, -IEC 60533:2015, And, as applicable for explosive atmospheres: - EN IEC 60079-0:2018 incl. AC:2020-02, and A11:2024 (b) -EN 54-4:1997 incl. AC:1999, A1:2002 and A2:2006. And as applicable, electrical and electronic installations in ships: -IEC 60092-504:2016, -IEC 60533:2015, And, as applicable for explosive atmospheres: - EN IEC 60079-0:2018 incl. AC:2020-02, and A11:2024 (c) - EN 54-20:2006 incl. AC: 2008. And as applicable, electrical and electronic installations in ships: -IEC 60092-504:2016, -IEC 60533:2015, And, as applicable for explosive atmospheres: - EN IEC 60079-0:2018 incl. AC:2020-02, and A11:2024. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.64 | C class divisions | SOLAS 74 Reg.II-2/3.10, II-2/9, II-2/3.33 2010 FTP Code, as amended, MSC/Circ.1120 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.65 | Fixed hydrocarbon gas detection system | SOLAS 74 Reg. II-2/4, FSS Code, 16, MSC.1/Circ.1370, MSC.1/Circ.1527 - IEC 60079-0:2018 incl. AC:2020-02, and A11:2024. - EN 60079-29-1:2016 incl. EN 60079-29-1:2016/A1:2022 and EN 60079-29-1:2016/A1:.2022 and EN 60079-29-1:2016/A11:2022, -IEC 60092-504:2016, -IEC 60533:2015. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.66 | Evacuation guidance systems used as an alternative to low-location lighting systems | SOLAS 74 Reg. II-2/13, MSC.1/Circ.1168 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.67 | Helicopter facility foam-fire fighting appliances | SOLAS 74 Reg. II-2/18, FSS Code, 17, -EN 13565-1:2019 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.68 | Galley exhaust duct fixes fire extinguishing systems components Note: For products used as spare parts of existing installations the relevant standards at the time of placing on board can still be applied. | SOLAS 74 Reg. II-2/9, ISO 15371:2024 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.69 | Mobile water monitor for ships constructed on or after 1 January 2016 designed to carry five or more tiers of containers on or above the weather deck | SOLAS 74 Reg. II-2/10, II-2/19, FSS Code, 12, MSC.1/Circ.1472, MSC.1/Circ.1550 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.70 | Fire-fighting hoses: -semi-rigid hoses for fixed systems | SOLAS 74 Reg. II-2/10, X/3, HSC Code 1994 + 2000, 7, - EN 694:2014 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/3.71 | Fixed firefighting hose systems -hose systems with lay-flat hose | SOLAS 74 Reg. II-2/10, X/3. HSC Code 1994 + 2000, 7, - EN 671-2:2012 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Navigation Equipment: The BSH* Hamburg is responsible for this section. *Federal Maritime and Hydrographic Agency |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. Radio-communication equipment: The BSH* Hamburg is responsible for this section. *Federal Maritime and Hydrographic Agency |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. Equipment required under COLREG 72: The BSH* Hamburg is responsible for this section. *Federal Maritime and Hydrographic Agency |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. Other safety equipment: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED /7.1 | Self-contained compressed air-operated breathing apparatus for entry and work in gas-filled space (New item inserted by Implementing Regulation (EU) 2018/773, refer to item MED/3.7) | SOLAS 74Reg.II-2/10, 15, FSS Code, 3, IBC Code, 14, IGC Code,14, MSC.1/Circ.1499, -ISO 23269-3:2011 Note: Associated fireproof lifeline under the item MED/3.44 shall be used together with the breathing apparatus and capable of being attached by means of a snap-hook to the harness of the apparatus or to a separate belt for preventing the breathing apparatus of becoming detached when the lifeline is operated. The declaration of conformity to this item shall indicate the equipment has to be used together with a lifeline item MED/.3.44 and provide the user with the location where the lifeline is to be fitted. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. Equipment under SOLAS Chapter II-1: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MED/.8.1 | Water level detectors | SOLAS 74 Reg. II-1/22-1, II-1/25, II-1/25-1, XII/12, Res.A.1021(26), Res.MSC.188(79) Revision 2, Res.MSC.302(87), MSC.1/Circ.1572, Revision 2 -IEC 60092-504:2016, -IEC 60529 Ed.2.2:2013 incl. Corr.1:2013 and Corr.2:2015, MSC.1/Circ.1291, -EN IEC 62923-1:2018, -EN IEC 62923-2:2018 Or: -IEC 60092-504:2016, -IEC 60529:1989+A1:1999 +A2:2013, -Res.MSC.188(79) Revision 2, -MSC.1/Circ.1291, -IEC 62923-1:2018, -IEC 62923-2:2018 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Additional equipment to be approved for seagoing German flagged ships (only BG Verkehr approvals) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Special extinguishing powder | IGC-Code Kap.11.4.1 Approval certificate issued by the Ministry of the Interior of North-Rhine Westphalia or Saxony |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Electric safety lamps, explosion-proof | Reg. II-2/17.1.1.4 IMO Resolution MSC.36(63) 7.10.3.1.4 (1994 HSC Code), APR §§ 48, 278(3) Certificate for use in hazar- dous areas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |